- Section 034000 - Precast Concrete

  - PART 1  GENERAL

    - SUBMITTALS

      - Product Data:  __________.

      - Sustainable Materials Documentation: Provide documentation per Section 018113 - Sustainable Design Requirements to demonstrate compliance with the Buy Clean and Buy Fair Washington Act requirements.

        - Submit a ​Sustainable Product Data Reporting Form​ for each applicable product to be used on the Project at both time of product data submittal and at project closeout.

        - Applicable Buy Clean and Buy Fair Washington Act data to be provided for the work of this Section include:

          - Required Data

            - Product quantity in Declared Units.

            - Environmental Product Declaration (EPD) which is product- and facility-specific.

          - Optional Additional Data

            - Health Product Declaration (HPD).

            - Manufacturer name and location.

            - Office of minority- and women-owned business enterprises certification.

            - Supplier code of conduct.

- [Setting low embodied carbon targets is not required by the Buy Clean Buy Fair Washington Act. Project design/construction teams can choose to add embodied carbon optimization to the project if coordinated as a project stretch goal with the State of Washington client team.

- If a project team elects to build on the Act’s requirements for “Environmental Product Declarations (EPDs)” by layering on an embodied carbon optimization/reduction strategy, then the language below could be a starting place for specifying those requirements.]

        - Applicable project-specific sustainable materials goals for the work of this Section include:

          - Low Embodied Carbon Materials: Include the following additional information on the Sustainable Product Data Reporting Form:

            - Embodied carbon material baseline.

            - Actual embodied carbon of the products listed.

            - Calculations of actual project embodied carbon values for each applicable product type required for "Project Embodied Carbon Optimization" as defined in Part 2 of Section 018113 - Sustainable Design Requirements.

      - Shop Drawings:  Indicate ​__________​.

  - PART 2  PRODUCTS

    - PERFORMANCE REQUIREMENTS

[The Buy Clean and Buy Fair Washington Act does require EPDs for all “covered product types”. The basic EPD ask should always be included in specifications covering these materials.]

      - Materials Transparency - Environmental Product Declaration (EPD): For each product, provide copies of all available current product disclosures. At a minimum, products must provide at least one of the following:

        - Product and facility-specific EPD: Third-party verified, current, and specifically for the product and the final facility where it was manufactured or fabricated.

        - Product and facility-specific EPD with supply chain-specific data: Third-party verified, current, and specifically for the product, its final manufacturing facility, and its supply chain.

[The Buy Clean and Buy Fair WA Act does not require embodied carbon reductions. Setting baselines and optimization/reduction targets are optional additions to projects.]

      - Embodied Carbon - Precast Concrete:

        - Provide a Type III, Product and Facility-Specific Environmental Product Declaration (EPD) that documents the following:

          - Actual Embodied Carbon: Product's GWP value as listed on EPD in kg CO2eq per Declared Unit.

          - System Boundary: Product Stage A1-A3.

          - Declared Unit: m3.

          - Product Category Rule (PCR): PCR used to create EPD, as listed on EPD.

      - Embodied Carbon - Steel Reinforcement:

        - Provide a Type III, Product-Specific or Facility-Specific Environmental Product Declaration (EPD) that documents the following:

          - Actual Embodied Carbon: Product's GWP value as listed on EPD in kg CO2eq per Declared Unit.

          - System Boundary: Product Stage A1-A3.

          - Declared Unit: metric ton.

          - Product Category Rule (PCR): PCR used to create EPD, as listed on EPD.

[Setting low embodied carbon targets is not required by the Buy Clean and Buy Fair Washington Act. Project design/construction teams can choose to add embodied carbon optimization to the project if coordinated as a project stretch goal with the State of Washington client team.]

        - Embodied Carbon Optimization Targets: EPDs for these product types are required (or targeted) to have a Global Warming Potential (Embodied Carbon, Actual) of [80%] [insert project target] Embodied Carbon Baseline values or less.

[At the time of this publication, the Carbon Leadership Forum has not established baselines for precast concrete yet due to the lack of industry wide representative data.  If the project team chooses to implement optimization targets or limits, CLF recommends checking our website to see if more recent Baselines have been published and checking the industry association website or the EC3 tool.  If no industry wide baseline exists, one could use the CLF Baseline appendices to establish an average of available EPDs on the market as a temporary baseline.  Additionally, for more regionally sourced materials, the EC3 database can be used to average locally available EPDs.  Finally, baselines/limits can also be established based on past public or private projects and/or contractor experience procuring materials.  CLF 2023 North American Material Baselines and appendices, dated August 2023, can be found online at: https://carbonleadershipforum.org/clf-material-baselines-2023/Forum.]

        - Embodied Carbon Material Baselines: As expressed in kg CO2eq per Declared Unit.

          - Precast Concrete:  [insert project baseline number, see red text above for strategies for setting this baseline].

          - Steel Reinforcement:  [insert project baseline number, see red text above for strategies for setting this baseline].

[Provisions of the Buy Clean and Buy Fair Washington Act criteria that are optional (listed as “when available” below) should be researched and edited to align with project-specific goals, product selections, and market availability.]

      - Materials Transparency - Material ingredients: When available, provide copies of all unexpired Health Product Declaration (HPD) documents.

      - Materials Transparency - MWBE certification: When available, provide an unexpired Office of minority- and women-owned business enterprises (MWBE) certification document.

      - Materials Transparency - Supplier Code of Conduct: When available, provide an unexpired Supplier Code of Conduct document.

        - Any of the following types are acceptable:

          - A building product company's Supplier Code of Conduct which addresses each of the ILO Fundamental Principles and Rights at Work.

          - A Design for Freedom Supplier Questionnaire specifically completed for the product and its supply chain.

          - Any standard listed as acceptable for LEED v4.1 Pilot Credit IPpc144 - Social Equity within the Supply Chain.

- END OF SECTION